## Test Section
Test Case Name | Description | Step Description | Requirement | Action | X | Y | No Wait | Timeout | Expected Result |  |  |  |  | Expected Result_2 |  |  |  |  | Expected Result_3 |  |  |  |  | Expected Result_4 |  |  |  | Expected Result_5 | Expected Result_6 | Expected Result_7 | Expected Result_8 | Expected Result_9 | Expected Result_10 | Expected Result_11 | Expected Result_12 | Expected Result_13
To Test Password Reset Screens | Verify the Service passcode reset workflow, including validation for invalid passcode lengths, successful reset messaging, and authentication behavior with old and new service passcodes. Confirm the relevant Service Options and Passcode Reset screens display the required controls, icons, English text, and post-restart access behavior. | Confirm preconditions are complete before starting password reset screen verification |  | ActionNone |  |  | FALSE | 3
To Test Password Reset Screens |  | Touch Menu to open Main Menu |  | ActManSendTouch | 61 | 49 | FALSE | 3
To Test Password Reset Screens |  | Touch Service Options to open service login |  | ActManSendTouch | 298 | 634 | FALSE | 3
To Test Password Reset Screens |  | Send current Service Passcode to unlock Service Options |  | ActManSendBarcodeMulti | scanner1 | 2035 | FALSE | 3
To Test Password Reset Screens |  | Touch Reset Service Passcode |  | ActManSendTouch | 246 | 630 | FALSE | 3
To Test Password Reset Screens |  | Take screenshot of Passcode Reset to verify Passcode Reset title, Reset Service option, Door icon, Detergent icon, and PPE icon are displayed | 296496, 296506 | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Screen.png |  | FALSE | 5 | ExpResComScreenOcr | passcode_reset_screen_ocr_passcode_reset | Passcode Reset | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Screen.png |  | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Screen.png | Reset_Service_Passcode__EL_RESET_SERVICE_PASSCODE_001__Reset_Service | Reset_Service_Passcode__passcode_reset_screen_manual_1782215091882__lid_open_Reset_Service_Passcode | Reset_Service_Passcode__passcode_reset_screen_manual_1782215095025__detergent_empty_Reset_Service_Passcode | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Screen.png | Reset_Service_Passcode__passcode_reset_screen_manual_1782215097665__read_manual | Reset_Service_Passcode__passcode_reset_screen_manual_1782215089119__network_on_Reset_Service_Passcode
To Test Password Reset Screens |  | Touch Reset Service to open reset service passcode entry screen |  | ActManSendTouch | 638 | 483 | FALSE | 3
To Test Password Reset Screens |  | Take screenshot of Reset Service Passcode to verify Reset Service Passcode text box, Cancel button, and alphanumeric keyboard are displayed |  | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png |  | FALSE | 5 | ExpResComScreenOcr | reset_service_passcode_abc_screen_ocr_reset_service_passcode | Reset Service Passcode | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png |  | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png | Reset_Service_Passcode__EL_RESET_SERVICE_PASSCODE_003__Cancel | Reset_Service_Passcode__reset_service_passcode_abc_screen_manual_1783053736803__a | Reset_Service_Passcode__reset_service_passcode_abc_screen_manual_1783053825357__b | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png | Reset_Service_Passcode__reset_service_passcode_abc_screen_manual_1783053812666__c | Reset_Service_Passcode__reset_service_passcode_abc_screen_manual_1783053865319__numbers
To Test Password Reset Screens |  | Touch 'q' on Reset Service Passcode keyboard. |  | ActManSendTouch | 220 | 373 | FALSE | 3
To Test Password Reset Screens |  | Touch 'w' on Reset Service Passcode keyboard. |  | ActManSendTouch | 315 | 376 | FALSE | 3
To Test Password Reset Screens |  | Touch 'e' on Reset Service Passcode keyboard. |  | ActManSendTouch | 408 | 374 | FALSE | 3
To Test Password Reset Screens |  | Touch ok to submit the three-character service passcode |  | ActManSendTouch | 998 | 659 | FALSE | 3
To Test Password Reset Screens |  | Take screenshot of Reset Service Passcode to verify Reset Service Passcode text field rejects qwe and is displayed in red |  | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png |  | FALSE | 5 | ExpResComScreenOcr | reset_service_passcode_abc_screen_ocr_reset_service_passcode | Reset Service Passcode | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png |  | ExpResColorCheck | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png | Reset Service Passcode | #CC0000 |  | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png | Reset_Service_Passcode__reset_service_passcode_abc_screen_manual_1783053656833__w | Reset_Service_Passcode__EL_RESET_SERVICE_PASSCODE_001__Reset_Service | Reset_Service_Passcode__EL_RESET_SERVICE_PASSCODE_003__Cancel | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png | Reset_Service_Passcode__reset_service_passcode_abc_screen_manual_1782194343898__detergent_empty_Reset_Service_Passcode_2 | Reset_Service_Passcode__reset_service_passcode_abc_screen_manual_1782194332353__lid_open_Reset_Service_Passcode_2
To Test Password Reset Screens |  | Touch cancel to leave the invalid reset service passcode entry screen |  | ActManSendTouch | 1098 | 180 | FALSE | 3
To Test Password Reset Screens |  | Touch Reset Service to reopen reset service passcode entry screen |  | ActManSendTouch | 638 | 483 | FALSE | 3
To Test Password Reset Screens |  | Touch 'a' on Reset Service Passcode keyboard. |  | ActManSendTouch | 258 | 467 | FALSE | 3
To Test Password Reset Screens |  | Touch 'b' on Reset Service Passcode keyboard. |  | ActManSendTouch | 737 | 562 | FALSE | 3
To Test Password Reset Screens |  | Touch 'c' on Reset Service Passcode keyboard. |  | ActManSendTouch | 550 | 562 | FALSE | 3
To Test Password Reset Screens |  | Touch 'd' on Reset Service Passcode keyboard. |  | ActManSendTouch | 448 | 470 | FALSE | 3
To Test Password Reset Screens |  | Touch 'e' on Reset Service Passcode keyboard. |  | ActManSendTouch | 408 | 374 | FALSE | 3
To Test Password Reset Screens |  | Touch 'f' on Reset Service Passcode keyboard. |  | ActManSendTouch | 542 | 468 | FALSE | 3
To Test Password Reset Screens |  | Touch 'g' on Reset Service Passcode keyboard. |  | ActManSendTouch | 634 | 470 | FALSE | 3
To Test Password Reset Screens |  | Touch 'h' on Reset Service Passcode keyboard. |  | ActManSendTouch | 731 | 466 | FALSE | 3
To Test Password Reset Screens |  | Touch 'i' on Reset Service Passcode keyboard. |  | ActManSendTouch | 879 | 374 | FALSE | 3
To Test Password Reset Screens |  | Touch 'j' on Reset Service Passcode keyboard. |  | ActManSendTouch | 826 | 470 | FALSE | 3
To Test Password Reset Screens |  | Touch 'k' on Reset Service Passcode keyboard. |  | ActManSendTouch | 918 | 472 | FALSE | 3
To Test Password Reset Screens |  | Touch 'l' on Reset Service Passcode keyboard. |  | ActManSendTouch | 1012 | 472 | FALSE | 3
To Test Password Reset Screens |  | Touch 'm' on Reset Service Passcode keyboard. |  | ActManSendTouch | 926 | 562 | FALSE | 3
To Test Password Reset Screens |  | Touch 'n' on Reset Service Passcode keyboard. |  | ActManSendTouch | 832 | 564 | FALSE | 3
To Test Password Reset Screens |  | Touch 'o' on Reset Service Passcode keyboard. |  | ActManSendTouch | 972 | 374 | FALSE | 3
To Test Password Reset Screens |  | Touch 'p' on Reset Service Passcode keyboard. |  | ActManSendTouch | 1068 | 373 | FALSE | 3
To Test Password Reset Screens |  | Touch 'q' on Reset Service Passcode keyboard. |  | ActManSendTouch | 220 | 373 | FALSE | 3
To Test Password Reset Screens |  | Touch 'r' on Reset Service Passcode keyboard. |  | ActManSendTouch | 504 | 373 | FALSE | 3
To Test Password Reset Screens |  | Touch 's' on Reset Service Passcode keyboard. |  | ActManSendTouch | 354 | 467 | FALSE | 3
To Test Password Reset Screens |  | Touch 't' on Reset Service Passcode keyboard. |  | ActManSendTouch | 598 | 376 | FALSE | 3
To Test Password Reset Screens |  | Touch 'u' on Reset Service Passcode keyboard. |  | ActManSendTouch | 783 | 375 | FALSE | 3
To Test Password Reset Screens |  | Touch 'v' on Reset Service Passcode keyboard. |  | ActManSendTouch | 643 | 564 | FALSE | 3
To Test Password Reset Screens |  | Touch 'w' on Reset Service Passcode keyboard. |  | ActManSendTouch | 315 | 376 | FALSE | 3
To Test Password Reset Screens |  | Touch 'x' on Reset Service Passcode keyboard. |  | ActManSendTouch | 456 | 564 | FALSE | 3
To Test Password Reset Screens |  | Touch 'y' on Reset Service Passcode keyboard. |  | ActManSendTouch | 690 | 372 | FALSE | 3
To Test Password Reset Screens |  | Touch 'z' on Reset Service Passcode keyboard. |  | ActManSendTouch | 362 | 562 | FALSE | 3
To Test Password Reset Screens |  | Touch 'numbers' to switch to number/symbol keyboard on Reset Service Passcode. |  | ActManSendTouch | 291 | 659 | FALSE | 3
To Test Password Reset Screens |  | Touch '1' on Service Login Failed keyboard. |  | ActManSendTouch | 214 | 372 | FALSE | 3
To Test Password Reset Screens |  | Touch '2' on Service Login Failed keyboard. |  | ActManSendTouch | 306 | 373 | FALSE | 3
To Test Password Reset Screens |  | Touch '3' on Service Login Failed keyboard. |  | ActManSendTouch | 397 | 372 | FALSE | 3
To Test Password Reset Screens |  | Touch '4' on Service Login Failed keyboard. |  | ActManSendTouch | 494 | 374 | FALSE | 3
To Test Password Reset Screens |  | Touch '5' on Service Login Failed keyboard. |  | ActManSendTouch | 586 | 372 | FALSE | 3
To Test Password Reset Screens |  | Touch '6' on Service Login Failed keyboard. |  | ActManSendTouch | 681 | 370 | FALSE | 3
To Test Password Reset Screens |  | Touch '7' on Service Login Failed keyboard. |  | ActManSendTouch | 776 | 372 | FALSE | 3
To Test Password Reset Screens |  | Touch ok to submit the over-length service passcode |  | ActManSendTouch | 998 | 659 | FALSE | 3
To Test Password Reset Screens |  | Take screenshot of Reset Service Passcode to verify Reset Service Passcode text field rejects the over-length value and is displayed in red |  | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png |  | FALSE | 5 | ExpResComScreenOcr | reset_service_passcode_abc_screen_ocr_reset_service_passcode | Reset Service Passcode | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png |  | ExpResColorCheck | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png | Reset Service Passcode | #CC0000 |  | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png | Reset_Service_Passcode__reset_service_passcode_abc_screen_manual_1782194343898__detergent_empty_Reset_Service_Passcode_2 | Reset_Service_Passcode__reset_service_passcode_abc_screen_manual_1782194332353__lid_open_Reset_Service_Passcode_2 | Reset_Service_Passcode__EL_RESET_SERVICE_PASSCODE_001__Reset_Service | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Reset_Service_Passcode_Abc_Screen.png | Reset_Service_Passcode__EL_RESET_SERVICE_PASSCODE_003__Cancel
To Test Password Reset Screens |  | Touch cancel to leave the invalid reset service passcode entry screen |  | ActManSendTouch | 1098 | 180 | FALSE | 3
To Test Password Reset Screens |  | Touch Reset Service to reopen reset service passcode entry screen for a valid passcode |  | ActManSendTouch | 638 | 483 | FALSE | 3
To Test Password Reset Screens |  | Touch 'q' on Reset Service Passcode keyboard. |  | ActManSendTouch | 220 | 373 | FALSE | 3
To Test Password Reset Screens |  | Touch 'w' on Reset Service Passcode keyboard. |  | ActManSendTouch | 315 | 376 | FALSE | 3
To Test Password Reset Screens |  | Touch 'e' on Reset Service Passcode keyboard. |  | ActManSendTouch | 408 | 374 | FALSE | 3
To Test Password Reset Screens |  | Touch 'r' on Reset Service Passcode keyboard. |  | ActManSendTouch | 504 | 373 | FALSE | 3
To Test Password Reset Screens |  | Touch ok to submit the valid service passcode |  | ActManSendTouch | 998 | 659 | FALSE | 3
To Test Password Reset Screens |  | Take screenshot of Passcode Reset Successful to verify Passcode Reset Successful popup is displayed |  | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Successfull_Screen.png |  | FALSE | 5 | ExpResComScreenOcr | passcode_reset_successfull_screen_ocr_passcade_reset | Passcode Reset | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Successfull_Screen.png |  | ExpResComScreenOcr | passcode_reset_successfull_screen_ocr_passcode_reset_successful | Passcode Reset Successful | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Successfull_Screen.png |  | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Successfull_Screen.png | Pasccode_Reset_Successful__passcode_reset_successfull_screen_manual_1782214898851__network_on_Pasccode_Reset_Successful | Pasccode_Reset_Successful__EL_PASCCODE_RESET_SUCCESFUL_001__OK | Pasccode_Reset_Successful__passcode_reset_successfull_screen_manual_1782214902374__lid_open_Pasccode_Reset_Successful | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Successfull_Screen.png | Pasccode_Reset_Successful__passcode_reset_successfull_screen_manual_1782214907334__detergent_empty_Pasccode_Reset_Successful
To Test Password Reset Screens |  | Touch OK to acknowledge the Passcode Reset Successful popup |  | ActManSendTouch | 638 | 616 | FALSE | 3
To Test Password Reset Screens |  | Take screenshot of Passcode Reset to verify Passcode Reset title and Reset Service option are displayed | 296496, 296506 | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Screen.png |  | FALSE | 5 | ExpResComScreenOcr | passcode_reset_screen_ocr_passcode_reset | Passcode Reset | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Screen.png |  | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Screen.png | Reset_Service_Passcode__EL_RESET_SERVICE_PASSCODE_001__Reset_Service | Reset_Service_Passcode__passcode_reset_screen_manual_1782215091882__lid_open_Reset_Service_Passcode | Reset_Service_Passcode__passcode_reset_screen_manual_1782215095025__detergent_empty_Reset_Service_Passcode | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Passcode_Reset_Screen.png | Reset_Service_Passcode__passcode_reset_screen_manual_1782215089119__network_on_Reset_Service_Passcode
To Test Password Reset Screens |  | Touch Back to return to Service Options |  | ActManSendTouch | 67 | 50 | FALSE | 3
To Test Password Reset Screens |  | Take screenshot of Service Options page 1 to verify IO Test, Calibration, PM, Cycles, Reset Service Passcode, Network, Machine Config, Generate/Print Setup Report buttons, Door icon, Detergent icon, and PPE icon are displayed |  | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_1_Screen.png |  | FALSE | 5 | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_1_Screen.png | Service_Options__EL_SERVICE_OPTIONS_002__IO_Test | Service_Options__EL_SERVICE_OPTIONS_003__Calibration | Service_Options__EL_SERVICE_OPTIONS_004__PM | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_1_Screen.png | Service_Options__EL_SERVICE_OPTIONS_005__Cycles | Service_Options__EL_SERVICE_OPTIONS_008__Reset_Service_Passcode | Service_Options__EL_SERVICE_OPTIONS_009__Network
To Test Password Reset Screens |  | Swipe Service Options screen left to reveal page 2 |  | ActManTouchScroll | 1043,482 | 240,482 | FALSE | 4
To Test Password Reset Screens |  | Take screenshot of Service Options page 2 to verify Supervisor, Operator, Download Diagnostics, Generate/Print Service Report buttons, Door icon, Detergent icon, and PPE icon are displayed |  | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_2_Screen.png |  | FALSE | 5 | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_2_Screen.png | Service_Options__service_options_2_screen_manual_1782192634286__Supervisor | Service_Options__service_options_2_screen_manual_1782192651243__Operator | Service_Options__EL_SERVICE_OPTIONS_013__Download_Diagnostics | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_2_Screen.png | Service_Options__EL_SERVICE_OPTIONS_012__Generate_Print_Service_Report | Service_Options__service_options_2_screen_manual_1782192340627__lid_open_Service_Options | Service_Options__service_options_2_screen_manual_1782192345473__detergent_empty_Service_Options
To Test Password Reset Screens |  | Touch Back to return to Main Menu |  | ActManSendTouch | 64 | 50 | FALSE | 3
To Test Password Reset Screens |  | Touch Back to return to Cycle Setup |  | ActManSendTouch | 1222 | 348 | FALSE | 3
To Test Password Reset Screens |  | Touch Menu to open Main Menu for old password login attempt |  | ActManSendTouch | 61 | 49 | FALSE | 3
To Test Password Reset Screens |  | Touch Service Options to open service login for old password attempt |  | ActManSendTouch | 298 | 634 | FALSE | 3
To Test Password Reset Screens |  | Send old Service Passcode after reset |  | ActManSendBarcodeMulti | scanner1 | 2035 | FALSE | 3
To Test Password Reset Screens |  | Take screenshot of Service Login Failed to verify login fails and Service Options screen is not displayed |  | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Login_Failed.png |  | FALSE | 5 | ExpResScreenText | Login Failed |  |  |  | ExpResScreenText | Service Login |  |  |  | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Login_Failed.png | Service_Login_Failed__service_login_failed_manual_1785686339862__ok | Service_Login_Failed__service_login_failed_manual_1785686357470__cancel
To Test Password Reset Screens |  | Send new Service Passcode to authenticate to Service Options |  | ActManSendBarcodeMulti | scanner1 | qwer | FALSE | 3
To Test Password Reset Screens |  | Take screenshot of Service Options page 1 to verify IO Test, Calibration, PM, Cycles, Reset Service Passcode, Network, Machine Config, Generate/Print Setup Report buttons, Door icon, Detergent icon, and PPE icon are displayed |  | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_1_Screen.png |  | FALSE | 5 | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_1_Screen.png | Service_Options__EL_SERVICE_OPTIONS_002__IO_Test | Service_Options__EL_SERVICE_OPTIONS_003__Calibration | Service_Options__EL_SERVICE_OPTIONS_004__PM | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_1_Screen.png | Service_Options__EL_SERVICE_OPTIONS_005__Cycles | Service_Options__EL_SERVICE_OPTIONS_008__Reset_Service_Passcode | Service_Options__EL_SERVICE_OPTIONS_009__Network
To Test Password Reset Screens |  | Swipe Service Options screen left to reveal page 2 |  | ActManTouchScroll | 1043,482 | 240,482 | FALSE | 4
To Test Password Reset Screens |  | Take screenshot of Service Options page 2 to verify Supervisor, Operator, Download Diagnostics, Generate/Print Service Report buttons, Door icon, Detergent icon, and PPE icon are displayed |  | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_2_Screen.png |  | FALSE | 5 | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_2_Screen.png | Service_Options__service_options_2_screen_manual_1782192634286__Supervisor | Service_Options__service_options_2_screen_manual_1782192651243__Operator | Service_Options__EL_SERVICE_OPTIONS_013__Download_Diagnostics | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_2_Screen.png | Service_Options__EL_SERVICE_OPTIONS_012__Generate_Print_Service_Report | Service_Options__service_options_2_screen_manual_1782192340627__lid_open_Service_Options | Service_Options__service_options_2_screen_manual_1782192345473__detergent_empty_Service_Options
To Test Password Reset Screens |  | Touch Back to return to Main Menu before restarting HMI |  | ActManSendTouch | 64 | 50 | FALSE | 3
To Test Password Reset Screens |  | Touch Back to return to Cycle Setup before restarting HMI |  | ActManSendTouch | 1222 | 348 | FALSE | 3
To Test Password Reset Screens |  | Send SSH command to restart the HMI application |  | ActionSendSSHCommand | echo AzDWCe ¦ sudo -S sh /home/Steris/eclipse/system/configure_services_eclipse.sh restart-test |  | FALSE | 100
To Test Password Reset Screens |  | Touch Menu after HMI restart |  | ActManSendTouch | 61 | 49 | FALSE | 3
To Test Password Reset Screens |  | Touch Service Options to open service login after HMI restart |  | ActManSendTouch | 298 | 634 | FALSE | 3
To Test Password Reset Screens |  | Send new Service Passcode after HMI restart |  | ActManSendBarcodeMulti | scanner1 | qwer | FALSE | 3
To Test Password Reset Screens |  | Take screenshot of Service Options page 1 to verify all displayed text is in English and IO Test, Calibration, PM, Cycles, Reset Service Passcode, Network, Machine Config, Generate/Print Setup Report buttons, Door icon, Detergent icon, and PPE icon are displayed |  | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_1_Screen.png |  | FALSE | 5 | ExpResComScreenOcr | service_options_1_screen_ocr_service_options | Service Options | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_1_Screen.png |  | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_1_Screen.png | Service_Options__EL_SERVICE_OPTIONS_002__IO_Test | Service_Options__EL_SERVICE_OPTIONS_003__Calibration | Service_Options__EL_SERVICE_OPTIONS_004__PM | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_1_Screen.png | Service_Options__EL_SERVICE_OPTIONS_005__Cycles | Service_Options__EL_SERVICE_OPTIONS_008__Reset_Service_Passcode
To Test Password Reset Screens |  | Swipe Service Options screen left to reveal page 2 after HMI restart |  | ActManTouchScroll | 1043,482 | 240,482 | FALSE | 4
To Test Password Reset Screens |  | Take screenshot of Service Options page 2 to verify all displayed text is in English and Supervisor, Operator, Download Diagnostics, Generate/Print Service Report buttons, Door icon, Detergent icon, and PPE icon are displayed |  | ActComScreenshot | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_2_Screen.png |  | FALSE | 5 | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_2_Screen.png | Service_Options__service_options_2_screen_manual_1782192634286__Supervisor | Service_Options__service_options_2_screen_manual_1782192651243__Operator | Service_Options__EL_SERVICE_OPTIONS_013__Download_Diagnostics | ExpResIconCompare | C:\path\to\local\folder\Eclipse HMI UI-Service Verification TP\To Test Password Reset Screens\Service_Options_2_Screen.png | Service_Options__EL_SERVICE_OPTIONS_012__Generate_Print_Service_Report | Service_Options__service_options_2_screen_manual_1782192340627__lid_open_Service_Options | Service_Options__service_options_2_screen_manual_1782192345473__detergent_empty_Service_Options

## Run Step
Test Case Name | Description | Step Description | Requirement | Action | No Wait | Timeout | Expected Result | Expected Result_2 | Expected Result_3 | Expected Result_4 | Expected Result_5 | Expected Result_6 | Expected Result_7 | Expected Result_8 | Expected Result_9